Permit Application #2001.7 Bonfires

# Tacoma Fire Department
Fire Prevention Division 253.591.5740
FAX Number 253.594.7943 
3471 S. 35th St. Tacoma, WA 98409
www.tacomafiredepartment.org

submit by hand, mail, fax, or e-mail to: TFDSEO@cityoftacoma.org

To be completed by the Permit Applicant (type in the grey box or print out and complete)

| ### Business Information |  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Date: |  |  |  |  | Federal Tax No: |  |  | UBI: |  |
| Applicant: |  |  |  |  | Drivers License: |  |  |  |  |
| Address: |  |  |  |  | City |  | State |  | Zip |
| Event Address: |  |  |  |  |  |  |  |  |  |
| Contact Name: |  |  |  |  |  |  |  |  |  |
| Phone: | ( ) |  |  |  | Alternate Phone/Cell: ( ) |  |  |  |  |
| E-mail Address: |  |  |  |  |  |  |  |  |  |
| Event Name: |  |  | Type of Event: |  |  |  |  |  |  |
| Date of Event: |  |  | Start Time of Event: |  |  |  |  |  |  |
| End Time of Event: |  |  | Attach Diagram Showing Area Within 50 Feet Of Fire. |  |  |  |  |  |  |
| City of Tacoma Business License: |  |  |  |  |  |  |  |  |  |
| Comments: |  |  |  |  |  |  |  |  |  |
| ### Please include a check made payable to the CITY OF TACOMA TREASURER, or request an invoice. |  |  |  |  |  |  |  |  |  |
| Check this box to have applicant invoiced for the permit fee. |  |  |  |  |  |  |  |  |  |
| ### FPB OFFICIAL USE ONLY |  |  |  |  |  |  |  |  |  |
| Approved By: |  |  |  | Date: |  |  |  |  |  |
| Denied: | Reason for Denial: |  |  |  |  |  |  |  |  |
| Site Inspection: | Approved: Corrective Measures: 1. 2. |  |  |  |  |  |  |  |  |
| Permit Number: |  |  |  |  |  |  |  |  |  |
| Permit Fees: | Date Received: | Receipt Number: |  |  |  | Check Number: |  |  |  |

See attached documentation for description of conditions that must be met prior to the issuance of this permit

-Bonfires-

# Tacoma Fire Department

PERMIT CONDITIONS #2001.7 – Bonfires

Scope:  This permit applies to outdoor fires with a fuel diameter of more than 3 ft. and a height of 2 ft.

1. Time Lines
           a.  Application shall be submitted and approved prior to the permit being issued.

# 2.  Regulatory References:

  - International Fire Code Section 307

  - Puget Sound Clean Air Agency

# 3.  Required Submittals:

- Tacoma Fire Department Permit Application

- Site Plan

4.  Inspection Requirements
           a.  Site inspection shall be required prior to event commencing.

# 5.  Requirements:

Permit is void if a burning ban has been imposed during permit period. Check the  
           Puget Sound Clean Air Agency (http://www.pscleanair.org/) to determine if a ban 
           is in place.  Only clean, untreated wood is allowed to be burned.

- Burning that will be offensive or objectionable because of smoke, odor or local circumstances that make such fires hazardous shall be prohibited.

- Bonfires shall be not less than 50 feet from a structure unless contained in a barbecue pit.

- Conditions for fire spread shall be removed prior to the ignition of the fire.

- A fire watch person, capable of making an emergency call, shall be required until the fire is extinguished.

- Appropriate fire extinguishing methods shall be readily at hand i.e. a charged hose with nozzle attached or a fire extinguisher with a minimum rating of 4-A.

Fuel restrictions:

- Burning of yard waste is illegal.

- Burning of garbage is illegal.

- Burning of cardboard or paper, except to start a fire, is illegal.

- Burning building materials, i.e. scrap wood, paint, vinyl flooring, roofing, carpet, etc is illegal.

- Burning dead animals is illegal.

- Burning of plastic, rubber, trash or other prohibited fuel may constitute an unauthorized release of hazardous material to the atmosphere.